Environmental Compliance Inspection Report

Facility Name: Innovation Industries, Inc.
Facility Address: 10 Innovation Dr, Research Triangle Park, NC 27709
Inspection Date: 2024-06-20
Regulatory Body: North Carolina Department of Environmental Quality (NCDEQ)
Permit Numbers:
- Air Permit: NC-RT-2024-001
- NPDES Wastewater Permit: NC0023456
- Hazardous Waste Generator ID: NCD123456789

### 1. Air Emissions

- Compliance Status: Non-Compliant

- Observations:

  - Particulate matter (PM10) measured at 180 ppm during last monitoring (2024-05-15), exceeding the permit limit of 150 ppm.

  - Stack monitoring records are up to date.

- Violations Identified:

  - Exceedance of permitted PM10 emission limit (NCAC 02D .0501).

- Recommended Remedial Actions:

  - Implement additional particulate control measures (e.g., filter maintenance, process modification).

  - Submit a corrective action plan to NCDEQ.

- Required Completion Date: 2024-07-15

### 2. Wastewater Discharge

- Compliance Status: Compliant

- Observations:

  - Last sampling date: 2024-06-10.

  - pH: 7.2 (permit range: 6.0–9.0).

  - COD: 120 mg/L (permit limit: 200 mg/L).

  - All monitoring records are current and within permit limits.

- Violations Identified: None

- Recommended Remedial Actions: N/A

- Required Completion Date: N/A

### 3. Hazardous Waste Management

- Compliance Status: Non-Compliant

- Observations:

  - Two 55-gallon drums of spent solvents stored in the hazardous waste area were not labeled with accumulation start dates.

  - Manifests for shipments are complete and available.

- Violations Identified:

  - Failure to properly label hazardous waste containers (40 CFR 262.34(a)(2)).

- Recommended Remedial Actions:

  - Immediately label all hazardous waste containers with accumulation start dates.

  - Conduct staff training on hazardous waste labeling requirements.

- Required Completion Date: 2024-06-27

### 4. Spill Prevention & Response Plan

- Compliance Status: Compliant

- Observations:

  - Spill Prevention, Control, and Countermeasure (SPCC) Plan last reviewed and updated on 2024-03-01.

  - Spill kits are present and accessible.

  - Staff training records are current.

- Violations Identified: None

- Recommended Remedial Actions: N/A

- Required Completion Date: N/A

Total Number of Violations: 2

Follow-up Inspection Date: 2026-01-21

Inspector Name: David Chang Inspector Signature: __________________________
Date: 2024-06-20