# Building Inspection Report

Report Date: 2025-07-02

## Inspector Details

- Name: Samuel Tan Wei Ming

- License Number: SG-BI-2024-1123

- Contact: +65 9123 4567 | samuel.tan@inspectsg.com

## Client Details

- Name: Global Commerce Holdings Pte Ltd

- Contact Person: Ms. Rachel Lim

- Contact: +65 6789 1234 | rachel.lim@gcholdings.com

## Property Information

- Address: 25 Global Commerce Rd, Singapore 018906

- Type: Commercial Office Building

- Age: 12 years

- Size: 85,000 sq ft

## Inspection Summary Table

| System/Area | Condition Rating | Description of Findings | Recommended Actions | Est. Repair Cost (USD) |
| --- | --- | --- | --- | --- |
| Structural | Satisfactory | No issues | None | $0.00 |
| Electrical | Minor Defect | Exposed wiring | Rewire section | $88,159.00 |
| Plumbing | Satisfactory | No leaks or blockages observed | None | $0.00 |
| HVAC | Fair | Inconsistent cooling on 3rd floor | Service and recalibrate units | $12,500.00 |
| Fire Safety | Minor Defect | 2 extinguishers expired | Replace extinguishers | $1,200.00 |
| Roofing | Satisfactory | No visible leaks or damage | None | $0.00 |
| Elevators | Satisfactory | All operational, recent service | None | $0.00 |
| Interior Finishes | Fair | Paint peeling in stairwells | Repaint affected areas | $3,800.00 |
| Exterior Facade | Satisfactory | No cracks or spalling observed | None | $0.00 |
| Parking Area | Minor Defect | Faded line markings | Repaint markings | $2,100.00 |

## Overall Condition Score

81 out of 100

## Immediate Safety Concerns

[X] Yes [ ] No

- Exposed electrical wiring in service corridor (see Electrical section)

- Expired fire extinguishers (see Fire Safety section)

End of Report