| Equipment Name | Asset ID | Last PM Date | Next PM Date | Frequency | Est. Duration (Hrs) | Key Tasks | Responsible Department |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Boiler A | BRLR-92213 | 2025-07-02 | 2025-08-11 | Quarterly | 164 | Inspect tubes, clean burners | Mechanical Maintenance |
| Turbine B | TURB-92213 | 2025-07-02 | 2025-08-11 | Annually | 180 | Blade inspection, bearing check | Mechanical Maintenance |
| Chiller C | CHLR-92213 | 2025-07-02 | 2025-08-11 | Semiannual | 120 | Check refrigerant, clean coils | HVAC |
| Main Switchgear | SWGR-92213 | 2025-07-02 | 2025-08-11 | Quarterly | 180 | Inspect breakers, test relays | Electrical Maintenance |
| Air Compressor | COMP-92213 | 2025-07-02 | 2025-08-11 | Quarterly | 180 | Change filters, check oil, inspect belts | Mechanical Maintenance |

Total Estimated PM Hours for the year: 824
Budget Allocated for PM: $10,785.00